## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| StartTime | Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Data fields are color coded as follows: | EndTime | End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
| EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
| EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "On-drone in situ measurement" or "Ground-based wind measurement"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If flight height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Performer Info
Company | Aeromon Oy
Product name | Aeromon BH-12
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded. | Target gas concentration, location, altitude, wind speed and direction at sampling position and timestamp was measured with Aeromon BH-12 measureing device with sensor modules for CH4 and wind speed/direction. Methane sensor has a detection limit of 0.19 ppm above ambient background. This mobile setup was carried around the test site with DJI M300 drone. Stationary weather station was installed at location (43.412777, -0.643708, 10 m AGL). Vaisala WXT combined with Aeromon BH-12 was used.
(2) Please record the model number of each primary component in (1), if applicable. | BHMD-0164 and BHMD-0170 as mobile measurement device and backup. BHMD-0149 as weather station device.
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations | CPU code version in BHMD devices "2024.04"
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments. | ACS (Aeromon Cloud Service) 2.0
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | The mass flow rate measurements can be divided into two different approaches, Reverse Dispersion Modelling (RDM) and Mass Balance (MB). RDM is suitable for cases where a plume from individual source can be separated from the background and there’s no turbulent dilution between the source and the measurement point. MB is suitable for any type of combination of sources and dilution processes. In both cases the first step is to map out the entire plume from the source by measuring horizontal measurement lines downwind from the source. The lines are repeated at different altitudes to cover the plume(s) from source area completely. The altitude step is predetermined and kept constant. Aim is to repeat these full fenceline walls at least 3 times with MB approach. For RDM at least 10 good repetitions from the plume centreline region are expected for analysis. In this campaign there was a time limitation for each test and for this reason the upwind reference was not measured separately. The background level was measured before and after the tests and it was found to be zero above the ambient background with all tested wind directions. In this campaign only MB approach was used at the end for quantification as the source area could not be reached due to EX restrictions. The boundary conditions for mass flow rate quantification are as follows: 1) the average wind speed over the measurement time must be between 1 - 15 m/s, preferably 2-10 m/s and 2) wind persistence, P, should be > 0.9 (In accordance with EN 17628, wind persistence, P, defined as the ratio of the magnitude of the wind-vector to the scalar wind speed.)
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma) | 95% Cl
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | 1) Payload operator. 2) Reporter. These two may also be the same person.
(8) For hyperspectral technologies, describe how plume length is determined for quantification. | -
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | For MB approach the perpendicular wind speed vector in relation to the measurement line is measured with Trisonica Mini sensor. The sensors are tested and compared to calibrated Vaisala WXT weather station in both controlled and field conditions. Drones downwash effect on onboard wind speed measurement is measured and compensated mathematically. The wind stability is analyzed from fixed weather station data in all quantification cases.
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc. | Uncertainty of Aeromon's MB approach combines the measurement uncertainties of the methane sensor concentration measurement (defined according to CEN TS 17660), wind sensor and drone location throughout the entire fenceline wall with result-to-result deviation between full fenceline walls.

## Reported Data
PerformerExperimentID | DateOfSurvey | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 2024-06-17 | 11:12 | 11:54 | Methane
2 |  |  |  | Methane
3 | 2024-06-17 | 13:06 | 13:52 | Methane
4 |  |  |  | Methane
5 | 2024-06-17 | 15:01 | 15:44 | Methane
6 |  |  |  | Methane
7 | 2024-06-17 | 16:58 | 17:48 | Methane
8 |  |  |  | Methane
9 | 2024-06-18 | 10:06 | 10:50 | Methane
10 | 2024-06-18 | 11:05 | 11:34 | Methane
11 | 2024-06-18 | 12:11 | 12:47 | Methane
12 |  |  |  | Methane
13 | 2024-06-18 | 14:04 | 14:51 | Methane
14 |  |  |  | Methane
15 | 2024-06-18 | 15:40 | 16:24 | Methane
16 |  |  |  | Methane
17 | 2024-06-19 | 9:05 | 9:47 | Methane | 6.25 |  | 7.71 | 4.79 | SD (measurement+theory) | average = 1.6, minimum = 0.2 | average = 286.8 | ground-based+ On-drone |  | 10 |  |  | No access to source area
18 |  |  |  | Methane
19 | 2024-06-19 | 11:02 | 11:48 | Methane | 50.27 |  | 62.28 | 38.26 | SD (measurement+theory) | average = 2.6, minimum = 0.4 | average = 285.8 | ground-based+ On-drone |  | 10 |  |  | No access to source area
20 |  |  |  | Methane
21 | 2024-06-19 | 13:02 | 13:16 | Methane | 25.81 |  | 29.95 | 21.67 | SD (measurement+theory) | average = 2.6, minimum = 0.6 | average = 266.4 | ground-based+ On-drone |  | 10 |  |  | No access to source area
22 |  |  |  | Methane
23 | 2024-06-19 | 15:01 | 15:48 | Methane | 52.73 |  | 67.55 | 37.92 | SD (measurement+theory) | average = 2, minimum = 0.5 | average = 263.1 | ground-based+ On-drone |  | 10 |  |  | No access to source area
24 |  |  |  | Methane
25 |  |  |  | Methane
26 |  |  |  | Methane
27 | 2024-06-20 | 11:33 | 11:52 | Methane
28 | 2024-06-20 | 12:05 | 12:51 | Methane | 10.27 |  | 15.01 | 5.52 | SD (measurement+theory) | average = 1.9, minimum = 0.4 | average = 73 | ground-based+ On-drone |  | 10 |  |  | No access to source area
29 | 2024-06-20 | 13:03 | 13:10 | Methane
30 | 2024-06-20 | 14:12 | 14:29 | Methane
31 |  |  |  | Methane
32 |  |  |  | Methane
33 |  |  |  | Methane
34 | 2024-06-21 | 10:03 | 10:47 | Methane | 11.39 |  | 16.71 | 6.07 | SD (measurement+theory) | average = 2.8, minimum = 0.4 | average = 244 | ground-based+ On-drone |  | 10 |  |  | No access to source area
35 |  |  |  | Methane
36 | 2024-06-21 | 12:10 | 12:33 | Methane | 0.03 |  | 0.15 | 0 | SD (measurement+theory) | average = 2.4, minimum = 0.3 | average = 247.2 | ground-based+ On-drone |  | 10 |  |  | No access to source area
37 |  |  |  | Methane
38 | 2024-06-21 | 14:13 | 14:53 | Methane | 0.13 |  | 0.27 | 0 | SD (measurement+theory) | average = 2.2, minimum = 0.7 | average = 250.5 | ground-based+ On-drone |  | 10 |  |  | No access to source area
39 |  |  |  | Methane
40 | 2024-06-21 | 16:29 | 17:19 | Methane | 3.18 |  | 4.18 | 2.18 | SD (measurement+theory) | average = 3, minimum = 0.6 | average = 271.1 | ground-based+ On-drone |  | 10 |  |  | No access to source area

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F