## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| StartTime | Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Data fields are color coded as follows: | EndTime | End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
| EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
| EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "On-vehicle in situ measurement" or "Ground-based wind measurement"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| AverageSpeed | Average (mean) speed of the vehicle. Please report in kilometers per hour [km/hr].
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Performer Info
Company | Technical University of Denmark - Department of Environmental and Resource Engineering
Product name | Tracer gas dispersion measurement of total methane emission (Acronym: TDM)
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded. | Deployment: Vehicle (commercial van) containing gas analyzer, air sampling pump and tubing, GNSS receiver and antenna, screen to monitor measurement results in near real time. Auxiliary components: 21 l Acetylene (C2H2) tracer gas bottles (1 in use per measurement at TADI) fitted with reduction valve, flow adjustment valve and variable area flowmeter. A scale was used to measure tracer gas release.
(2) Please record the model number of each primary component in (1), if applicable. | Gas analyzer: Cavity Ring Down Spectrometer, Picarro model G2203 CH4/C2H2 gas analyzer GNSS receiver and antenna: Hemisphere R330 Variable area flowmeter: Brooks, model#: 1355GAE3ABJG1AAA Scale: Kern & Sohn DE 60K1D
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations | Picarro: CRDS Software, version g2000 - 1.7.0.73
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments. | OriginPro 2023 Microsoft Excel 2016
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | Continous release of acetylene tracer gas combined with cross plume measurements (at least ten) of methane and acetylene tmospheric concentrations. Measurements are performed using a vehicle, where air is sampled at about 2m height. Tracer gas is released at the emission source at a known, constant rate. More details in these references: https://doi.org/10.1016/j.wasman.2014.03.025; https://doi.org/10.1016/j.wasman.2018.10.036 Measurements at TADI differed from usual practise. Normaly, the emission zone is surveyed to determine from where, emissions occur. This is done to ensure tracer gas is released at/near the source(s). This was not possible at TADI. Also, adjustment of tracer placement is sometimes done, if poor correlation of the two gases are seen during measurement. This was also not possible at TADI. Please note our quality assesment of each release sent earlier.
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma) | 95% CI, standard error of the mean
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | Measurement: 1 person, tracer gas release: 1 person - 2 persons in all. At small sites, 1 person is sufficient to perform measurements.
(8) For hyperspectral technologies, describe how plume length is determined for quantification. | n/a
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | n/a
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc. | Here, we report measurement variability as standard error of the mean. Measurement error of the method was the subject of this reference that included controlled release tests: https://doi.org/10.1016/j.wasman.2018.10.036

## Reported Data
PerformerExperimentID | DateOfSurvey | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | AverageSpeed | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 2024-06-17 | 11:09 | 11:43 | Methane | 31.6649 |  | 35.0092 | 28.3206 | Statistical: standard error of the mean | Wind information is not used in our calculations | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
2 | 2024-06-17 | 12:06 | 12:50 | Methane | 0.75529 |  | 0.78415 | 0.72644 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
3 | 2024-06-17 | 13:09 | 13:50 | Methane | 27.157 |  | 29.7618 | 24.5521 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
4 | 2024-06-17 | 14:02 | 14:46 | Methane | 8.6542 |  | 10.381 | 6.9274 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
5 | 2024-06-17 | 15:03 | 15:40 | Methane | 1.5879 |  | 1.6907 | 1.485 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
6 | 2024-06-17 | 16:06 | 16:41 | Methane | 20.3982 |  | 21.9279 | 18.8685 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
7 | 2024-06-17 | 17:24 | 17:46 | Methane | 82.7249 |  | 99.8384 | 65.6114 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
8 | 2024-06-18 | 9:09 | 9:49 | Methane | 41.3203 |  | 45.7092 | 36.9314 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
9 | 2024-06-18 | 10:25 | 10:50 | Methane | 35.8321 |  | 41.8413 | 29.8229 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
10 | 2024-06-18 | 11:06 | 11:37 | Methane | 4.9811 |  | 5.7886 | 4.1735 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
11 | 2024-06-18 | 12:03 | 12:45 | Methane | 9.5698 |  | 9.976 | 9.1635 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
12 | 2024-06-18 | 13:02 | 13:38 | Methane | 54.4125 |  | 59.6224 | 49.2027 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
13 | 2024-06-18 | 14:07 | 14:48 | Methane | 3.7534 |  | 4.4526 | 3.0541 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
14 | 2024-06-18 | 15:15 | 15:28 | Methane | 1.6349 |  | 1.8173 | 1.4525 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
15 | 2024-06-18 | 15:45 | 16:10 | Methane | 178.2945 |  | 201.1488 | 155.4403 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
16 | 2024-06-18 | 16:48 | 17:03 | Methane | 4.683 |  | 5.1963 | 4.1697 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
17 | 2024-06-19 | 9:03 | 9:44 | Methane | 20.8796 |  | 24.1941 | 17.5651 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
18 | 2024-06-19 | 10:01 | 10:28 | Methane | 2.7339 |  | 3.2022 | 2.2656 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
19 | 2024-06-19 | 11:04 | 11:40 | Methane | 101.5291 |  | 119.2092 | 83.849 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
20 | 2024-06-19 | 12:00 | 12:47 | Methane | BDL |  |  |  |  | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
21 | 2024-06-19 | 13:02 | 13:46 | Methane | 39.4051 |  | 47.0137 | 31.7965 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
22 | 2024-06-19 | 14:29 | 14:37 | Methane | 10.0955 |  | 12.5484 | 7.6427 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
23 | 2024-06-19 | 15:06 | 15:46 | Methane | 101.3927 |  | 117.4186 | 85.3667 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
24 | 2024-06-19 | 16:08 | 16:29 | Methane | 9.7114 |  | 12.2188 | 7.2039 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
25 | 2024-06-20 | 9:24 | 9:35 | Methane | 10.2922 |  | 11.9611 | 8.6234 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
26 | 2024-06-20 | 10:06 | 10:34 | Methane | 22.0512 |  | 23.2458 | 20.8566 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
27 | 2024-06-20 | 11:16 | 11:38 | Methane | 20.714 |  | 26.5681 | 14.86 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
28 | 2024-06-20 | 12:08 | 12:37 | Methane | 37.6809 |  | 43.1364 | 32.2255 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
29 | 2024-06-20 | 13:10 | 13:45 | Methane | 5.1053 |  | 5.9008 | 4.3097 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
30 | 2024-06-20 | 14:23 | 14:45 | Methane | 23.9211 |  | 28.6543 | 19.1878 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
31 | 2024-06-20 | 15:31 | 15:45 | Methane | 67.2059 |  | 75.8555 | 58.5563 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
32 | 2024-06-20 | 16:25 | 16:37 | Methane | 14.4207 |  | 14.6895 | 14.152 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
33 | 2024-06-21 | 9:19 | 9:29 | Methane | 1.4411 |  | 1.5998 | 1.2824 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
34 | 2024-06-21 | 10:08 | 10:18 | Methane | 50.678 |  | 59.6582 | 41.6977 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
35 | 2024-06-21 | 11:04 | 11:43 | Methane | 6.1511 |  | 7.4237 | 4.8785 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
36 | 2024-06-21 | 12:10 | 13:04 | Methane | BDL |  |  |  |  | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
37 | 2024-06-21 | 13:21 | 13:35 | Methane | 43.4857 |  | 55.1608 | 31.8107 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
38 | 2024-06-21 | 14:12 | 15:05 | Methane | BDL |  |  |  |  | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
39 | 2024-06-21 | 15:19 | 15:45 | Methane | 17.2007 |  | 19.0109 | 15.3904 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
40 | 2024-06-21 | 16:30 | 16:44 | Methane | 3.3588 |  | 4.301 | 2.4165 | Statistical: standard error of the mean | n/a | n/a | n/a | n/a | 2m |  |  | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
[17 empty] | 1: whole site | about 25-30 km/h
Note on C21: Anders Michael Fredenslund: Release start
Note on D21: Anders Michael Fredenslund: Release end
Note on F21: Anders Michael Fredenslund: BDL = Below detection limit (app. 0.2 kg/h)
Note on C37: Anders Michael Fredenslund: Release start
Note on D37: Anders Michael Fredenslund: Release end
Note on C39: Anders Michael Fredenslund: Release start
Note on D39: Anders Michael Fredenslund: Release end

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F