## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| TimeStamp | (If instantaneous measurement is taken) Timestamp of image in format HH:MM:SS. Please use 24 hour clock in local time zone (UTC+2)
| StartTime | (If extended measurement is taken) Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
| EndTime | (If extended measurement is taken) End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
| Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Data fields are color coded as follows: | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "High-Resolution Rapid Refresh (HRRR)"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| AverageSpeed | Average (mean) speed of the aircraft. Please report in kilometers per hour [km/hr].
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Performer Info
Company | Empa
Product name | AVIRIS-4
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded. | The instrument is an imaging spectrometer called Airborne Visible and Infrared Imaging Spectrometer (AVIRIS-4) and was devoloped and built by NASA JPL and operated by the University of Zurich (UZH). AVIRIS-4 is mounted on a GSM 4000 stabilization mount to stabilise the sensor and compensate for the aircraft's movements. To be able to georeference the acquired data, the iXblue Atlans A7 inertial naviation system (INS) records the exact positon and attitude of the aircraft based on the GPS signal received by the airplane's antenna and based on the acceleration in three dimensions. The sensor is controlled from an on-board linux station using a custom UI and the data is stored on SSD in a storage rack. The sensor is built into the aft hatch of a Cessna 208B Grand Caravan EX.
(2) Please record the model number of each primary component in (1), if applicable. | Imaging spectrometer: AVIRIS-4 Gyro stabilization mount: SOMAG Gyro Stabilization Mount GSM 4000 INS: iXblue Atlans A7
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations | The workstation runs on the Debian distribution. Topoflight is used for flight planning and navigation during the flight.
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments. | Emit-sds v1.4.2 by NASA JPL for radiometric and spectral calibration (https://github.com/emit-sds/emit-sds-l1b) PARGE by ReSe Applications for georeferencing (version 4.1, Build 11) (not used for this study) Empa CH4 Retrieval Algorithm (git revision number: v1.0) Python library for data-driven emission quantification (ddeq; Version 1.0, git revision number: v0.1.0-378-gd330966)
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | Emission quantification from AVIRIS-4 involves four steps (five to get one average per release): 1) Radiometric and spectral calibration The data recorded by AVIRIS-4 consists of digital numbers (DN) with the spatial dimensions along track and across track as well as a spectral dimension consisting of 286 bands at wavelengths ranging from 400 to 2500 nm (called level 0 data). The digital numbers are then converted into at-sensor radiances (in W m-2 nm-2 sr-1) using laboratory-measured calibration coefficients c0 (offset) and c1 (gain): L = c0 + c1 * DN. This data is called level 1 data. 2) Georectification Due to an issue with the INS, we were not yet able to georeference the data. As soon as the issue has been resolved, we will reprocess the data. For now, a simple georectification has been applied where the data is projected onto a lat/lon grid with constant pixel sizes, where the pixel size has been estimated based on the altitude and speed of the aircraft as well as the viewing angle and FPS of the sensor. With this method, we overestimate the pixel areas by approximately 5% with a standard deviation of 6% compared to measurements in Google Earth. 3) Methane retrieval Methane enhancements are retrieved from at-senor radiances using a matched filter based on the implementation by Foote et al. (2020; doi:10.1109/TGRS.2020.2976888). The matched filter is applied to two spectral windows (1.6µm and 2.3µm). An albedo correction is applied indepdently for each window. The application of the algorithm to AVIRIS-NG is described by Kuhlmann et al. 2024 (EGUSphere, submitted to ACP). The unit absorption spectrum of methane is calculated by computing a simulated spectrum representative for mid-latitude summer conditions without methane enhancements (L0) and one with an assumed methane enhancement of 10 ppm in the lowest kilometer of the atmosphere (L1). The calculated spectra depend on the solar zenith angle and the altitude of the aircraft above ground. The unit absorption spectrum is obtained as s = (ln(L1) - ln(L0)) / alpha where alpha = enhancement * altitude above ground. The matched filter is then applied to each across-track position to obtain methane enhancements above the background. The resulting maps of methane are called level 2 data. 4) Emission quantification The method used for emission estimation is the Integrated Mass Enhancement (IME) method described in Kuhlmann et al. (2024) (https://doi.org/10.5194/gmd-17-4773-2024). In a first step, the plumes are detected by using a threshold of the methane enhancements above the background. The source location is obtained from the high-resolution methane image. The background concentration is estimated by applying a low-pass filter (e.g., a median filter) assuming a spatially smooth background field. In a second step, we sum the product of methane concentrations above the background and the pixel size of all detected plume pixels to obtain the integrated mass enhancement (IME). Lastly, the IME is multiplied by the residence time tau of the methane within the plume where tau = u / L. u represents the (effective) wind speed (see (9)) and L the plume length (see (8)). 5) Emission estimation for each release The data is reported as one estimate for each overpass (see sheet "Reported Data") and as one estimate for each release (see sheet "Reported Data Avg". For the latter, we calculated the estimated emissions as the weighted average of all estimates for a given release using 1/sigma**2 as weights where sigma is the uncertainty for one estimate. For the uncertainty of the estimated emissions per release, we use the median of all estimates for a given release instead of a weighted average because the estimated uncertainties are assumed not to be independent due to systematic errors (e.g. for the estimation of wind speeds, pixel sizes etc.). This yields a more conservative estimate of the uncertainties which will be improved in further analyses.
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma) | The confidece levels are calculated as +/- 1 sigma
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | Before the mission: - 2 people for flight planning (obtaining permissions, planning of flight patterns and altitude etc.) During the mission: - 2 pilots, 3 operators to monitor the senor and write the log book. As soon as the sensor is fully tested and all possible errors have been corrected, it will also be possible to fly with only 2 operators. After the mission: - 1 person for processing the data from level 0 to level 1 - 1 person for processing the data from level 1 to level 2 and for emission estimation
(8) For hyperspectral technologies, describe how plume length is determined for quantification. | The plume length is calculated by fitting a center line to the detected plume using a second order spline. The arc lenght of this center line is then used as the plume length. The plume is detected by using a threshold value which is determined for each overpass individually to restrict the detected plume to areas without visual artifacts (e.g. cast shadows).
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | For the wind estimate, we use the ERA-5 reanalysis product 10m wind speed as well as the ensemble model spread of the 10m wind speed. The wind data is then temporally and spatially interpolated to the time and source of the release.
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc. | The uncertainty of the estimated emissions is obtained by performing error propagation of the individual sources of uncertainty. We use an uncertainty for … - pixel size (sigma_A) which is estimated as 10% of the average pixel size, - plume length (sigma_L) which is estimated as 10% of the plume length, - CH4 columns (sigma_CH4) which is estimated as the standard deviation of the pixels outside the emission plume - wind speed (sigma_U) which is estimated as the combined uncertainty of the ERA-5 model spread and an uncertainty of the effective wind speed (the wind speed at which the plume is effectively transported, depending on the emission height and atmospheric stability). The latter is estimated from large eddy simulations (LES) using the CFD model MicroHH (https://doi.org/10.5194/gmd-10-3145-2017) and is equivalend to 16% of the 10m wind speed for neutral and unstable conditions. We do not include an uncertainty term for uncertainties of the IME approach such as the assumption of steady-state conditions. We expect that this would roughly double the uncertainty estimated from the algorithm.

## Reported Data
PerformerExperimentID | DateOfSurvey | TimeStamp | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | AverageSpeed | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 2024-09-16 | 11:16 | 11:15 | 11:16 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.297 | 260.333 | ERA-5 Reanalysis | 182 | 3562.6 | - | M014_240916_FRA_Pau_Methane_12000ft_Line_0001_2024-09-16_111653_000_rdn | 1 | 311.136 | no plume detected | no plume detected
2 | 2024-09-16 | 11:23 | 11:22 | 11:24 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.29 | 252.05 | ERA-5 Reanalysis | 92 | 2617.72 | - | M014_240916_FRA_Pau_Methane_9000ft_Line_0001_2024-09-16_112514_000_rdn | 1 | 264.836 | no plume detected | no plume detected
3 | 2024-09-16 | 11:30 | 11:30 | 11:31 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.284 | 245.04 | ERA-5 Reanalysis | 182 | 1733.8 | - | M014_240916_FRA_Pau_Methane_6000ft_Line_0001_2024-09-16_113218_000_rdn | 1 | 303.728 | no plume detected | no plume detected
4 | 2024-09-16 | 11:38 | 11:37 | 11:39 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.278 | 237.882 | ERA-5 Reanalysis | 92 | 1187.9032 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0001_2024-09-16_113931_000_rdn | 1 | 266.688 | no plume detected | no plume detected
5 | 2024-09-16 | 11:44 | 11:44 | 11:45 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.272 | 231.301 | ERA-5 Reanalysis | 182 | 910.2304 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_114609_000_rdn | 1 | 275.948 | no plume detected | no plume detected
6 | 2024-09-16 | 12:01 | 12:00 | 12:02 | Methane | 47.8933 | IME for one overpass | 58.5989 | 37.1878 | +/- 1 SD | 1.27 | 230.361 | ERA-5 Reanalysis | 2 | 1186.3792 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0002_2024-09-16_120230_000_rdn | 1 | 274.096 | 43.4127 | -0.64278
7 | 2024-09-16 | 12:07 | 12:06 | 12:08 | Methane | 62.2117 | IME for one overpass | 75.9293 | 48.4941 | +/- 1 SD | 1.311 | 239.296 | ERA-5 Reanalysis | 92 | 1186.0744 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0001_2024-09-16_120919_000_rdn | 1 | 266.688 | 43.4126 | -0.64275
8 | 2024-09-16 | 12:14 | 12:13 | 12:15 | Methane | 55.7749 | IME for one overpass | 68.0191 | 43.5308 | +/- 1 SD | 1.35 | 247.168 | ERA-5 Reanalysis | 182 | 1186.3792 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0002_2024-09-16_121538_000_rdn | 1 | 294.468 | 43.4127 | -0.64278
9 | 2024-09-16 | 12:21 | 12:20 | 12:22 | Methane | 71.7452 | IME for one overpass | 87.31 | 56.1805 | +/- 1 SD | 1.392 | 256.763 | ERA-5 Reanalysis | 272 | 1186.9888 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0001_2024-09-16_122236_000_rdn | 1 | 296.32 | 43.4126 | -0.64275
10 | 2024-09-16 | 12:28 | 12:27 | 12:28 | Methane | 26.3391 | IME for one overpass | 32.0287 | 20.6495 | +/- 1 SD | 1.433 | 263.343 | ERA-5 Reanalysis | 2 | 912.0592 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_122920_000_rdn | 1 | 264.836 | 43.4126 | -0.64273
11 | 2024-09-16 | 12:34 | 12:33 | 12:35 | Methane | 54.4659 | IME for one overpass | 66.1124 | 42.8194 | +/- 1 SD | 1.474 | 272.625 | ERA-5 Reanalysis | 92 | 910.84 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_123559_000_rdn | 1 | 268.54 | 43.4126 | -0.64275
12 | 2024-09-16 | 12:40 | 12:40 | 12:41 | Methane | 31.7242 | IME for one overpass | 38.5255 | 24.923 | +/- 1 SD | 1.512 | 280.529 | ERA-5 Reanalysis | 182 | 910.84 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_124215_000_rdn | 1 | 279.652 | 43.4126 | -0.64275
13 | 2024-09-16 | 12:46 | 12:45 | 12:47 | Methane | 65.8338 | IME for one overpass | 79.7964 | 51.8712 | +/- 1 SD | 1.544 | 288.468 | ERA-5 Reanalysis | 272 | 910.84 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_124734_000_rdn | 1 | 292.616 | 43.4126 | -0.64274
14 | 2024-09-16 | 13:00 | 13:00 | 13:01 | Methane | 9.2237 | IME for one overpass | 11.5114 | 6.936 | +/- 1 SD | 1.628 | 300.368 | ERA-5 Reanalysis | 2 | 1183.9408 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0002_2024-09-16_130225_000_rdn | 1 | 266.688 | 43.4129 | -0.64258
15 | 2024-09-16 | 13:08 | 13:07 | 13:08 | Methane | 13.8739 | IME for one overpass | 17.136 | 10.6119 | +/- 1 SD | 1.646 | 293.587 | ERA-5 Reanalysis | 92 | 1184.2456 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0001_2024-09-16_130856_000_rdn | 1 | 264.836 | 43.4129 | -0.64258
16 | 2024-09-16 | 13:13 | 13:12 | 13:14 | Methane | 25.7048 | IME for one overpass | 31.2674 | 20.1421 | +/- 1 SD | 1.662 | 286.979 | ERA-5 Reanalysis | 182 | 1183.636 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0002_2024-09-16_131436_000_rdn | 1 | 290.764 | 43.4129 | -0.64258
17 | 2024-09-16 | 13:19 | 13:18 | 13:20 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 1.68 | 280.171 | ERA-5 Reanalysis | 272 | 1184.5504 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0001_2024-09-16_132059_000_rdn | 1 | 292.616 | 43.4129 | -0.64258
18 | 2024-09-16 | 13:25 | 13:25 | 13:26 | Methane | 16.8544 | IME for one overpass | 20.6219 | 13.0868 | +/- 1 SD | 1.698 | 270.967 | ERA-5 Reanalysis | 2 | 912.364 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_132711_000_rdn | 1 | 272.244 | 43.4129 | -0.64258
19 | 2024-09-16 | 13:31 | 13:30 | 13:32 | Methane | 23.2301 | IME for one overpass | 28.2957 | 18.1645 | +/- 1 SD | 1.715 | 264.7 | ERA-5 Reanalysis | 92 | 912.9736 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_133313_000_rdn | 1 | 277.8 | 43.4129 | -0.64258
20 | 2024-09-16 | 13:37 | 13:37 | 13:38 | Methane | 22.1618 | IME for one overpass | 26.8933 | 17.4304 | +/- 1 SD | 1.732 | 257.319 | ERA-5 Reanalysis | 182 | 911.7544 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_133911_000_rdn | 1 | 277.8 | 43.4129 | -0.64258
21 | 2024-09-16 | 13:42 | 13:42 | 13:43 | Methane | 21.723 | IME for one overpass | 26.5404 | 16.9057 | +/- 1 SD | 1.749 | 250.977 | ERA-5 Reanalysis | 272 | 912.0592 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_134509_000_rdn | 1 | 274.096 | 43.4129 | -0.64258
22 | 2024-09-16 | 15:28 | 15:28 | 15:29 | Methane | 25.6465 | IME for one overpass | 30.9773 | 20.3156 | +/- 1 SD | 2.104 | 269.605 | ERA-5 Reanalysis | 272 | 910.84 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_153045_000_rdn | 1 | 270.392 | 43.4126 | -0.64273
23 | 2024-09-16 | 15:36 | 15:35 | 15:36 | Methane | 32.2919 | IME for one overpass | 39.2369 | 25.3469 | +/- 1 SD | 2.117 | 260.343 | ERA-5 Reanalysis | 2 | 910.84 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_153716_000_rdn | 1 | 257.428 | 43.4126 | -0.64273
24 | 2024-09-16 | 15:42 | 15:41 | 15:43 | Methane | 22.8192 | IME for one overpass | 27.478 | 18.1603 | +/- 1 SD | 2.129 | 252.642 | ERA-5 Reanalysis | 92 | 909.316 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_154350_000_rdn | 1 | 272.244 | 43.4126 | -0.64273
25 | 2024-09-16 | 15:48 | 15:47 | 15:48 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.157 | 232.988 | ERA-5 Reanalysis | 182 | 909.316 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_154926_000_rdn | 1 | 290.764 | no plume detected | no plume detected
26 | 2024-09-16 | 16:00 | 15:59 | 16:01 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 2.154 | 244.305 | ERA-5 Reanalysis | 182 | 3570.22 | - | M014_240916_FRA_Pau_Methane_12000ft_Line_0001_2024-09-16_160138_000_rdn | 1 | 340.768 | too many artifacts | too many artifacts
27 | 2024-09-16 | 16:07 | 16:06 | 16:08 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 2.115 | 240.956 | ERA-5 Reanalysis | 92 | 2648.8096 | - | M014_240916_FRA_Pau_Methane_9000ft_Line_0001_2024-09-16_161030_000_rdn | 1 | 277.8 | too many artifacts | too many artifacts
28 | 2024-09-16 | 16:16 | 16:15 | 16:16 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.104 | 224.738 | ERA-5 Reanalysis | 182 | 1733.8 | - | M014_240916_FRA_Pau_Methane_6000ft_Line_0001_2024-09-16_161717_000_rdn | 1 | 294.468 | no plume detected | no plume detected
29 | 2024-09-16 | 16:23 | 16:22 | 16:24 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.072 | 225.573 | ERA-5 Reanalysis | 92 | 1186.684 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0001_2024-09-16_162509_000_rdn | 1 | 264.836 | no plume detected | no plume detected
30 | 2024-09-16 | 16:29 | 16:29 | 16:30 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 2.024 | 236.848 | ERA-5 Reanalysis | 2 | 1185.7696 | - | M014_240916_FRA_Pau_Methane_4200ft_Line_0002_2024-09-16_163136_000_rdn | 1 | 272.244 | too many artifacts | too many artifacts
31 | 2024-09-16 | 16:36 | 16:35 | 16:37 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 1.994 | 236.909 | ERA-5 Reanalysis | 92 | 912.0592 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0001_2024-09-16_163819_000_rdn | 1 | 275.948 | too many artifacts | too many artifacts
32 | 2024-09-16 | 16:42 | 16:42 | 16:43 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 1.966 | 236.766 | ERA-5 Reanalysis | 2 | 910.2304 | - | M014_240916_FRA_Pau_Methane_3000ft_Line_0002_2024-09-16_164455_000_rdn | 1 | 266.688 | too many artifacts | too many artifacts
33 | 2024-09-17 | 12:08 | 12:07 | 12:09 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.013 | 34.889 | ERA-5 Reanalysis | 2 | 924.556 | - | M015_240917_FRA_Pau_Methane_3000ft_Line_20001_2024-09-17_120933_000_rdn | 1 | 262.984 | no plume detected | no plume detected
34 | 2024-09-17 | 12:16 | 12:15 | 12:17 | Methane | too many artifacts | IME for one overpass | too many artifacts | too many artifacts | +/- 1 SD | 2.074 | 34.26 | ERA-5 Reanalysis | 92 | 924.556 | - | M015_240917_FRA_Pau_Methane_3000ft_Line_10001_2024-09-17_121704_000_rdn | 1 | 264.836 | 43.4129 | -0.64263
35 | 2024-09-17 | 12:24 | 12:23 | 12:25 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.107 | 35.552 | ERA-5 Reanalysis | 182 | 922.7272 | - | M015_240917_FRA_Pau_Methane_3000ft_Line_20001_2024-09-17_122510_000_rdn | 1 | 281.504 | no plume detected | no plume detected
36 | 2024-09-17 | 12:30 | 12:29 | 12:31 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.145 | 35.82 | ERA-5 Reanalysis | 272 | 922.4224 | - | M015_240917_FRA_Pau_Methane_3000ft_Line_10001_2024-09-17_123130_000_rdn | 1 | 268.54 | no plume detected | no plume detected
37 | 2024-09-17 | 12:36 | 12:36 | 12:37 | Methane | 15.3509 | IME for one overpass | 19.0625 | 11.6392 | +/- 1 SD | 2.173 | 34.832 | ERA-5 Reanalysis | 2 | 1198.2664 | - | M015_240917_FRA_Pau_Methane_4200ft_Line_20001_2024-09-17_123734_000_rdn | 1 | 275.948 | 43.4129 | -0.64263
38 | 2024-09-17 | 12:42 | 12:41 | 12:43 | Methane | 47.1446 | IME for one overpass | 58.2419 | 36.0473 | +/- 1 SD | 2.202 | 34.945 | ERA-5 Reanalysis | 92 | 1197.352 | - | M015_240917_FRA_Pau_Methane_4200ft_Line_10001_2024-09-17_124339_000_rdn | 1 | 277.8 | 43.4129 | -0.64263
39 | 2024-09-17 | 12:48 | 12:47 | 12:49 | Methane | 16.0593 | IME for one overpass | 19.9543 | 12.1642 | +/- 1 SD | 2.23 | 35.119 | ERA-5 Reanalysis | 182 | 1197.0472 | - | M015_240917_FRA_Pau_Methane_4200ft_Line_20001_2024-09-17_124929_000_rdn | 1 | 268.54 | 43.4129 | -0.64263
40 | 2024-09-17 | 12:54 | 12:53 | 12:55 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.289 | 36.84 | ERA-5 Reanalysis | 272 | 1197.352 | - | M015_240917_FRA_Pau_Methane_4200ft_Line_10001_2024-09-17_125533_000_rdn | 1 | 283.356 | no plume detected | no plume detected
41 | 2024-09-17 | 13:04 | 13:03 | 13:05 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.325 | 36.611 | ERA-5 Reanalysis | 2 | 921.508 | - | M015_240917_FRA_Pau_Methane_3000ft_Line_20001_2024-09-17_130502_000_rdn | 1 | 264.836 | no plume detected | no plume detected
42 | 2024-09-18 | 10:46 | 10:45 | 10:47 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.693 | 123.78 | ERA-5 Reanalysis | 2 | 3572.6584 | - | M016_240918_FRA_Pau_Methane_12000ft_Line_10001_2024-09-18_104801_000_rdn | 1 | 268.54 | no plume detected | no plume detected
43 | 2024-09-18 | 11:02 | 11:02 | 11:03 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.715 | 145.601 | ERA-5 Reanalysis | 2 | 1739.5912 | - | M016_240918_FRA_Pau_Methane_6000ft_Line_10001_2024-09-18_110351_000_rdn | 1 | 264.836 | no plume detected | no plume detected
44 | 2024-09-18 | 11:10 | 11:09 | 11:11 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.683 | 172.97 | ERA-5 Reanalysis | 92 | 1194.9136 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_10001_2024-09-18_111117_000_rdn | 1 | 270.392 | no plume detected | no plume detected
45 | 2024-09-18 | 11:16 | 11:15 | 11:17 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.658 | 194.509 | ERA-5 Reanalysis | 2 | 1195.2184 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_111708_000_rdn | 1 | 274.096 | no plume detected | no plume detected
46 | 2024-09-18 | 11:23 | 11:22 | 11:24 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.628 | 220.344 | ERA-5 Reanalysis | 92 | 930.652 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_112409_000_rdn | 1 | 248.168 | no plume detected | no plume detected
47 | 2024-09-18 | 11:29 | 11:28 | 11:30 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.602 | 242.312 | ERA-5 Reanalysis | 2 | 930.0424 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_113007_000_rdn | 1 | 259.28 | no plume detected | no plume detected
48 | 2024-09-18 | 11:46 | 11:45 | 11:47 | Methane | 42.2956 | IME for one overpass | 64.9452 | 19.646 | +/- 1 SD | 0.527 | 304.719 | ERA-5 Reanalysis | 2 | 1197.0472 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_114730_000_rdn | 1 | 244.464 | 43.4127 | -0.64275
49 | 2024-09-18 | 11:53 | 11:52 | 11:54 | Methane | 27.0648 | IME for one overpass | 42.8515 | 11.2782 | +/- 1 SD | 0.492 | 332.396 | ERA-5 Reanalysis | 92 | 1198.2664 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_10001_2024-09-18_115436_000_rdn | 1 | 259.28 | 43.4126 | -0.64272
50 | 2024-09-18 | 12:00 | 11:59 | 12:01 | Methane | 16.4519 | IME for one overpass | 26.8271 | 6.0767 | +/- 1 SD | 0.464 | 345.508 | ERA-5 Reanalysis | 182 | 1196.7424 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_120152_000_rdn | 1 | 244.464 | 43.4126 | -0.64275
51 | 2024-09-18 | 12:07 | 12:06 | 12:08 | Methane | 22.8406 | IME for one overpass | 37.7797 | 7.9015 | +/- 1 SD | 0.458 | 315.238 | ERA-5 Reanalysis | 272 | 1198.5712 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_10001_2024-09-18_120855_000_rdn | 1 | 268.54 | 43.4126 | -0.64273
52 | 2024-09-18 | 12:13 | 12:12 | 12:14 | Methane | 13.5903 | IME for one overpass | 22.7069 | 4.4737 | +/- 1 SD | 0.456 | 291.752 | ERA-5 Reanalysis | 2 | 930.0424 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_121435_000_rdn | 1 | 262.984 | 43.4126 | -0.64274
53 | 2024-09-18 | 12:19 | 12:18 | 12:20 | Methane | complex shape of plume | IME for one overpass | complex shape of plume | complex shape of plume | +/- 1 SD | 0.452 | 265.602 | ERA-5 Reanalysis | 92 | 930.3472 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_122036_000_rdn | 1 | 255.576 | 43.4126 | -0.64273
54 | 2024-09-18 | 12:25 | 12:24 | 12:26 | Methane | 9.9023 | IME for one overpass | 16.9478 | 2.8568 | +/- 1 SD | 0.447 | 241.525 | ERA-5 Reanalysis | 182 | 930.3472 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_122622_000_rdn | 1 | 248.168 | 43.4126 | -0.64274
55 | 2024-09-18 | 12:30 | 12:29 | 12:32 | Methane | 22.5786 | IME for one overpass | 39.0976 | 6.0596 | +/- 1 SD | 0.443 | 213.119 | ERA-5 Reanalysis | 272 | 930.0424 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_123241_000_rdn | 1 | 259.28 | 43.4126 | -0.64274
56 | 2024-09-18 | 12:46 | 12:45 | 12:47 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.42 | 181.099 | ERA-5 Reanalysis | 2 | 3571.744 | - | M016_240918_FRA_Pau_Methane_12000ft_Line_10001_2024-09-18_124744_000_rdn | 1 | 253.724 | no plume detected | no plume detected
57 | 2024-09-18 | 12:53 | 12:51 | 12:55 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.413 | 157.96 | ERA-5 Reanalysis | 92 | 2660.0872 | - | M016_240918_FRA_Pau_Methane_9000ft_Line_10001_2024-09-18_125411_000_rdn | 1 | 242.612 | no plume detected | no plume detected
58 | 2024-09-18 | 13:00 | 13:00 | 13:01 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.405 | 135.938 | ERA-5 Reanalysis | 2 | 1746.9064 | - | M016_240918_FRA_Pau_Methane_6000ft_Line_10001_2024-09-18_130207_000_rdn | 1 | 264.836 | no plume detected | no plume detected
59 | 2024-09-18 | 13:06 | 13:05 | 13:07 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.401 | 132.647 | ERA-5 Reanalysis | 92 | 1211.9824 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_10001_2024-09-18_130809_000_rdn | 1 | 274.096 | no plume detected | no plume detected
60 | 2024-09-18 | 13:12 | 13:11 | 13:13 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.397 | 129.683 | ERA-5 Reanalysis | 2 | 1187.5984 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_131335_000_rdn | 1 | 266.688 | no plume detected | no plume detected
61 | 2024-09-18 | 13:18 | 13:16 | 13:19 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.393 | 126.546 | ERA-5 Reanalysis | 92 | 940.1008 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_131920_000_rdn | 1 | 262.984 | no plume detected | no plume detected
62 | 2024-09-18 | 13:24 | 13:23 | 13:24 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.389 | 123.391 | ERA-5 Reanalysis | 2 | 939.1864 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_132507_000_rdn | 1 | 262.984 | no plume detected | no plume detected
63 | 2024-09-18 | 13:46 | 13:45 | 13:47 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 0.374 | 111.29 | ERA-5 Reanalysis | 2 | 938.272 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_134718_000_rdn | 1 | 253.724 | no plume detected | no plume detected
64 | 2024-09-18 | 13:51 | 13:50 | 13:52 | Methane | 1.3872 | IME for one overpass | 2.7734 | 0.0011167 | +/- 1 SD | 0.416 | 98.225 | ERA-5 Reanalysis | 92 | 941.32 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_135313_000_rdn | 1 | 268.54 | 43.4128 | -0.64238
65 | 2024-09-18 | 13:57 | 13:56 | 13:58 | Methane | 2.1602 | IME for one overpass | 4.3495 | 0 | +/- 1 SD | 0.413 | 98.774 | ERA-5 Reanalysis | 2 | 938.8816 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_135839_000_rdn | 1 | 262.984 | 43.4128 | -0.64238
66 | 2024-09-18 | 14:03 | 14:02 | 14:04 | Methane | center line fit failed | IME for one overpass | center line fit failed | center line fit failed | +/- 1 SD | 0.447 | 94.491 | ERA-5 Reanalysis | 272 | 923.032 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_140447_000_rdn | 1 | 259.28 | 43.4128 | -0.64238
67 | 2024-09-18 | 15:31 | 15:30 | 15:32 | Methane | 150.86 | IME for one overpass | 217.9445 | 83.7755 | +/- 1 SD | 0.877 | 59.384 | ERA-5 Reanalysis | 272 | 1215.9448 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_10001_2024-09-18_153306_000_rdn | 1 | 277.8 | 43.4126 | -0.64273
68 | 2024-09-18 | 15:37 | 15:36 | 15:38 | Methane | 72.0772 | IME for one overpass | 103.3475 | 40.8068 | +/- 1 SD | 0.896 | 59.545 | ERA-5 Reanalysis | 2 | 1214.7256 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_153853_000_rdn | 1 | 248.168 | 43.4126 | -0.64273
69 | 2024-09-18 | 15:43 | 15:42 | 15:44 | Methane | 180.4239 | IME for one overpass | 256.1927 | 104.6551 | +/- 1 SD | 0.922 | 59.951 | ERA-5 Reanalysis | 92 | 1214.4208 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_10001_2024-09-18_154503_000_rdn | 1 | 259.28 | 43.4126 | -0.64272
70 | 2024-09-18 | 15:49 | 15:48 | 15:50 | Methane | complex shape of plume | IME for one overpass | complex shape of plume | complex shape of plume | +/- 1 SD | 0.944 | 60.294 | ERA-5 Reanalysis | 182 | 1215.64 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_155035_000_rdn | 1 | 268.54 | 43.4126 | -0.64275
71 | 2024-09-18 | 15:55 | 15:54 | 15:56 | Methane | 100.8537 | IME for one overpass | 140.9802 | 60.7272 | +/- 1 SD | 0.968 | 60.356 | ERA-5 Reanalysis | 2 | 904.1344 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_155622_000_rdn | 1 | 240.76 | 43.4127 | -0.64275
72 | 2024-09-18 | 16:00 | 15:59 | 16:01 | Methane | 116.3377 | IME for one overpass | 161.6087 | 71.0667 | +/- 1 SD | 0.985 | 61.271 | ERA-5 Reanalysis | 92 | 904.744 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_160215_000_rdn | 1 | 259.28 | 43.4126 | -0.64274
73 | 2024-09-18 | 16:06 | 16:05 | 16:07 | Methane | complex shape of plume | IME for one overpass | complex shape of plume | complex shape of plume | +/- 1 SD | 0.99 | 62.853 | ERA-5 Reanalysis | 182 | 907.792 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_20001_2024-09-18_160728_000_rdn | 1 | 264.836 | 43.4126 | -0.64274
74 | 2024-09-18 | 16:12 | 16:11 | 16:13 | Methane | 119.2862 | IME for one overpass | 164.6782 | 73.8942 | +/- 1 SD | 0.995 | 64.87 | ERA-5 Reanalysis | 272 | 907.792 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_161350_000_rdn | 1 | 275.948 | 43.4126 | -0.64273
75 | 2024-09-18 | 16:32 | 16:31 | 16:33 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.002 | 70.598 | ERA-5 Reanalysis | 2 | 1215.64 | - | M016_240918_FRA_Pau_Methane_4200ft_Line_20001_2024-09-18_163352_000_rdn | 1 | 259.28 | no plume detected | no plume detected
76 | 2024-09-18 | 16:39 | 16:38 | 16:40 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 1.008 | 72.787 | ERA-5 Reanalysis | 92 | 910.84 | - | M016_240918_FRA_Pau_Methane_3000ft_Line_10001_2024-09-18_164027_000_rdn | 1 | 270.392 | no plume detected | no plume detected
77 | 2024-09-19 | 14:46 | 14:45 | 14:47 | Methane | 71.9225 | IME for one overpass | 91.5651 | 52.2799 | +/- 1 SD | 2.007 | 74.984 | ERA-5 Reanalysis | 2 | 1194.6088 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_20001_2024-09-19_144745_000_rdn | 1 | 248.168 | 43.4127 | -0.64277
78 | 2024-09-19 | 14:52 | 14:51 | 14:53 | Methane | 150.8668 | IME for one overpass | 191.3419 | 110.3917 | +/- 1 SD | 2.032 | 75.01 | ERA-5 Reanalysis | 92 | 1193.9992 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_10001_2024-09-19_145410_000_rdn | 1 | 235.204 | 43.4126 | -0.64274
79 | 2024-09-19 | 14:58 | 14:57 | 14:59 | Methane | 123.9626 | IME for one overpass | 156.6907 | 91.2345 | +/- 1 SD | 2.056 | 74.967 | ERA-5 Reanalysis | 182 | 1194.9136 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_20001_2024-09-19_150007_000_rdn | 1 | 244.464 | 43.4126 | -0.64275
80 | 2024-09-19 | 15:04 | 15:03 | 15:05 | Methane | 93.1628 | IME for one overpass | 117.544 | 68.7816 | +/- 1 SD | 2.068 | 74.747 | ERA-5 Reanalysis | 272 | 1193.9992 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_10001_2024-09-19_150548_000_rdn | 1 | 261.132 | 43.4126 | -0.64275
81 | 2024-09-19 | 15:10 | 15:09 | 15:11 | Methane | 74.5697 | IME for one overpass | 93.8993 | 55.2401 | +/- 1 SD | 2.081 | 74.252 | ERA-5 Reanalysis | 2 | 909.0112 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_20001_2024-09-19_151134_000_rdn | 1 | 257.428 | 43.4126 | -0.64274
82 | 2024-09-19 | 15:16 | 15:15 | 15:17 | Methane | 76.5901 | IME for one overpass | 96.1789 | 57.0013 | +/- 1 SD | 2.094 | 73.96 | ERA-5 Reanalysis | 92 | 909.6208 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_10001_2024-09-19_151806_000_rdn | 1 | 255.576 | 43.4126 | -0.64274
83 | 2024-09-19 | 15:22 | 15:21 | 15:23 | Methane | 70.237 | IME for one overpass | 88.0721 | 52.4019 | +/- 1 SD | 2.106 | 73.722 | ERA-5 Reanalysis | 182 | 907.1824 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_20001_2024-09-19_152325_000_rdn | 1 | 250.02 | 43.4127 | -0.64273
84 | 2024-09-19 | 15:28 | 15:27 | 15:29 | Methane | 125.4006 | IME for one overpass | 156.8784 | 93.9229 | +/- 1 SD | 2.119 | 73.44 | ERA-5 Reanalysis | 272 | 906.8776 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_10001_2024-09-19_152929_000_rdn | 1 | 262.984 | 43.4126 | -0.64274
85 | 2024-09-19 | 15:46 | 15:45 | 15:47 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.141 | 71.452 | ERA-5 Reanalysis | 2 | 1737.4576 | - | M017_240919_FRA_Pau_Methane_6000ft_Line_10001_2024-09-19_154718_000_rdn | 1 | 285.208 | no plume detected | no plume detected
86 | 2024-09-19 | 15:51 | 15:50 | 15:52 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.149 | 71.213 | ERA-5 Reanalysis | 92 | 1736.848 | - | M017_240919_FRA_Pau_Methane_6000ft_Line_20001_2024-09-19_155245_000_rdn | 1 | 277.8 | no plume detected | no plume detected
87 | 2024-09-19 | 15:56 | 15:56 | 15:57 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.158 | 70.968 | ERA-5 Reanalysis | 182 | 1737.4576 | - | M017_240919_FRA_Pau_Methane_6000ft_Line_10001_2024-09-19_155818_000_rdn | 1 | 261.132 | no plume detected | no plume detected
88 | 2024-09-19 | 16:02 | 16:01 | 16:03 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.173 | 71.012 | ERA-5 Reanalysis | 272 | 1737.7624 | - | M017_240919_FRA_Pau_Methane_6000ft_Line_20001_2024-09-19_160407_000_rdn | 1 | 264.836 | no plume detected | no plume detected
89 | 2024-09-19 | 16:08 | 16:07 | 16:09 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.189 | 71.167 | ERA-5 Reanalysis | 2 | 1190.6464 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_20001_2024-09-19_160932_000_rdn | 1 | 277.8 | no plume detected | no plume detected
90 | 2024-09-19 | 16:14 | 16:13 | 16:15 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.208 | 71.352 | ERA-5 Reanalysis | 92 | 1190.3416 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_10001_2024-09-19_161600_000_rdn | 1 | 253.724 | no plume detected | no plume detected
91 | 2024-09-19 | 16:20 | 16:19 | 16:21 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.224 | 71.512 | ERA-5 Reanalysis | 2 | 908.4016 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_20001_2024-09-19_162135_000_rdn | 1 | 270.392 | no plume detected | no plume detected
92 | 2024-09-19 | 16:25 | 16:24 | 16:26 | Methane | no plume detected | IME for one overpass | no plume detected | no plume detected | +/- 1 SD | 2.241 | 71.675 | ERA-5 Reanalysis | 92 | 908.0968 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_10001_2024-09-19_162717_000_rdn | 1 | 255.576 | no plume detected | no plume detected
93 | 2024-09-19 | 16:45 | 16:44 | 16:46 | Methane | 24.7641 | IME for one overpass | 30.4828 | 19.0454 | +/- 1 SD | 2.351 | 73.054 | ERA-5 Reanalysis | 2 | 1210.4584 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_20001_2024-09-19_164659_000_rdn | 1 | 259.28 | 43.4126 | -0.64275
94 | 2024-09-19 | 16:51 | 16:50 | 16:52 | Methane | 104.1506 | IME for one overpass | 127.0006 | 81.3007 | +/- 1 SD | 2.373 | 73.115 | ERA-5 Reanalysis | 92 | 1183.636 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_10001_2024-09-19_165249_000_rdn | 1 | 246.316 | 43.4126 | -0.64271
95 | 2024-09-19 | 16:57 | 16:56 | 16:58 | Methane | 43.303 | IME for one overpass | 52.8738 | 33.7321 | +/- 1 SD | 2.396 | 73.273 | ERA-5 Reanalysis | 182 | 1185.7696 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_20001_2024-09-19_165902_000_rdn | 1 | 248.168 | 43.4126 | -0.64274
96 | 2024-09-19 | 17:03 | 17:02 | 17:04 | Methane | 51.9383 | IME for one overpass | 63.5241 | 40.3526 | +/- 1 SD | 2.341 | 74.76 | ERA-5 Reanalysis | 272 | 1186.3792 | - | M017_240919_FRA_Pau_Methane_4200ft_Line_10001_2024-09-19_170513_000_rdn | 1 | 244.464 | 43.4126 | -0.6427
97 | 2024-09-19 | 17:09 | 17:08 | 17:10 | Methane | 26.6703 | IME for one overpass | 32.8247 | 20.5159 | +/- 1 SD | 2.272 | 76.406 | ERA-5 Reanalysis | 2 | 910.84 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_20001_2024-09-19_171100_000_rdn | 1 | 264.836 | 43.4126 | -0.6427
98 | 2024-09-19 | 17:15 | 17:14 | 17:16 | Methane | 32.6787 | IME for one overpass | 40.361 | 24.9964 | +/- 1 SD | 2.208 | 78.172 | ERA-5 Reanalysis | 92 | 913.5832 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_10001_2024-09-19_171711_000_rdn | 1 | 250.02 | 43.4126 | -0.6427
99 | 2024-09-19 | 17:21 | 17:20 | 17:22 | Methane | 17.0406 | IME for one overpass | 21.4112 | 12.6699 | +/- 1 SD | 2.144 | 79.892 | ERA-5 Reanalysis | 182 | 912.6688 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_20001_2024-09-19_172247_000_rdn | 1 | 251.872 | 43.4126 | -0.6427
100 | 2024-09-19 | 17:27 | 17:26 | 17:28 | Methane | 33.881 | IME for one overpass | 42.1452 | 25.6167 | +/- 1 SD | 2.077 | 81.67 | ERA-5 Reanalysis | 272 | 910.84 | - | M017_240919_FRA_Pau_Methane_3000ft_Line_10001_2024-09-19_172850_000_rdn | 1 | 268.54 | 43.4126 | -0.6427

## Reported Data Avg
PerformerExperimentID | DateOfSurvey | TimeStamp | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | AverageSpeed | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 2024-09-16 | 12:26 | 12:03 | 12:48 | Methane | 40.6836 | IME average estimate based on 8 overpasses | 52.6289 | 28.7383 | +/- 1 SD | 1.4109 | 259.8191 | ERA-5 Reanalysis | - | 1048.8001 | - | - | 1 | 280 | 43.4126 | -0.64275
2 | 2024-09-16 | 13:24 | 13:02 | 13:45 | Methane | 15.3837 | IME average estimate based on 7 overpasses | 20.1151 | 10.6522 | +/- 1 SD | 1.6889 | 275.6335 | ERA-5 Reanalysis | - | 1028.7105 | - | - | 1 | 277 | 43.4129 | -0.64258
3 | 2024-09-16 | 15:37 | 15:31 | 15:44 | Methane | 25.7201 | IME average estimate based on 3 overpasses | 31.051 | 20.3893 | +/- 1 SD | 2.1166 | 260.8634 | ERA-5 Reanalysis | - | 910.332 | - | - | 1 | 267 | 43.4126 | -0.64273
5 | 2024-09-17 | 12:44 | 12:38 | 12:49 | Methane | 17.4301 | IME average estimate based on 3 overpasses | 21.3252 | 13.5351 | +/- 1 SD | 2.2016 | 34.9654 | ERA-5 Reanalysis | - | 1197.5552 | - | - | 1 | 274 | 43.4129 | -0.64263
6 | 2024-09-18 | 12:11 | 11:48 | 12:33 | Methane | 16.05 | IME average estimate based on 7 overpasses | 30.9891 | 1.1109 | +/- 1 SD | 0.46974 | 292.0365 | ERA-5 Reanalysis | - | 1083.0085 | - | - | 1 | 255 | 43.4126 | -0.64274
7 | 2024-09-18 | 13:56 | 13:53 | 13:59 | Methane | 1.6084 | IME average estimate based on 2 overpasses | 3.3961 | 0 | +/- 1 SD | 0.41469 | 98.4995 | ERA-5 Reanalysis | - | 940.1008 | - | - | 1 | 266 | 43.4128 | -0.64238
8 | 2024-09-18 | 15:53 | 15:33 | 16:14 | Methane | 104.8506 | IME average estimate based on 6 overpasses | 150.1821 | 59.5191 | +/- 1 SD | 0.94072 | 60.8962 | ERA-5 Reanalysis | - | 1060.2936 | - | - | 1 | 262 | 43.4126 | -0.64274
9 | 2024-09-19 | 15:06 | 14:48 | 15:29 | Methane | 85.0622 | IME average estimate based on 8 overpasses | 107.0741 | 63.0503 | +/- 1 SD | 2.0634 | 74.5202 | ERA-5 Reanalysis | - | 1071.905 | - | - | 1 | 252 | 43.4126 | -0.64275
10 | 2024-09-20 | 17:08 | 16:47 | 17:29 | Methane | 27.6828 | IME average estimate based on 8 overpasses | 35.6561 | 19.7095 | +/- 1 SD | 2.2702 | 76.2925 | ERA-5 Reanalysis | - | 1051.7719 | - | - | 1 | 254 | 43.4126 | -0.64271

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F