## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| StartTime | Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Data fields are color coded as follows: | EndTime | End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
| EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
| EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "On-drone in situ measurement" or "Ground-based wind measurement"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If flight height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Performer Info
Company | Flylogix Holdings Ltd
Product name | Flylogix Asset-level Methane emissions report
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded. | DJI Mavic M300 Aeris MIRA Strato LDS - Natural Gas Davis Vantage Pro2 weather station (~3m above ground)
(2) Please record the model number of each primary component in (1), if applicable.
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments. | Flylogix Methane Analysis script - Quadcopter v0.4
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | This is a standard mass balance method using Gauss's Law to calculate the methane flux, see e.g. `Application of Gauss's theorem to quantify localized surface emissions from airborne measurements of wind and trace gases', S. Conley et al.: Atmos, Meas. Tech. 10, 3345-3358, 2017.
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma) | 3-sigma
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | Drone Pilot, Data Processing Engineer
(8) For hyperspectral technologies, describe how plume length is determined for quantification.
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | We used a Davis Vantage 2 Pro Weather station with WeatherLink telemetry system to store the data An calibration offset was applied to the wind direction to centralise the plume downwind
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc. | The methane uncertainy is obtained by analysis of the 'background' Methane measurement data to get bias and variance of the sensor The wind speed and direction uncertainty is obtained from a combination of the specs of the Davis Vantage 2 Pro Weather station and the statistics of the data measured

## Reported Data
PerformerExperimentID | DateOfSurvey | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 2024-09-17 | 9:26 | 9:41 | Methane | 0.3 | Mean | 2.2 | 0 | 3-sigma | 1 | 2.5 | Ground-based wind measurement | Circular | 6.8-15.5 |  |  | 1 release
2 | 2024-09-17 | 10:22 | 10:36 | Methane | 1.7 | Mean | 7.5 | 0 | 3-sigma | 0.8 | 284 | Ground-based wind measurement | Circular | 8.4-15.6 |  |  | 1 release
3 | 2024-09-17 | 13:10 | 13:31 | Methane | 0 | Mean | 0.3 | 0 | 3-sigma | 1.4 | 7 | Ground-based wind measurement | Circular | 8.5-15.9 |  |  | 1 release
4 | 2024-09-17 | 14:15 | 14:31 | Methane | 10.3 | Mean | 23.9 | 0 | 3-sigma | 1 | 343 | Ground-based wind measurement | Circular | 6.2-15.5 |  |  | 1 release
5 | 2024-09-17 | 15:29 | 15:38 | Methane | 0 | Mean | 0.4 | 0 | 3-sigma | 1 | 56 | Ground-based wind measurement | Circular | 6.1-15.1 |  |  | 1 release
6 | 2024-09-18 | 9:23 | 9:39 | Methane | 0.3 | Mean | 2.3 | 0 | 3-sigma | 1 | 112 | Ground-based wind measurement | Circular | 5.9-15.4 |  |  | 1 release
7 | 2024-09-18 | 10:11 | 10:27 | Methane | 17.7 | Mean | 42.8 | 0 | 3-sigma | 0.6 | 142 | Ground-based wind measurement | Circular | 5.1-15.9 |  |  | 1 release
8 | 2024-09-18 | 11:48 | 12:06 | Methane | 38.6 | Mean | 60.8 | 16.4 | 3-sigma | 1 | 65 | Ground-based wind measurement | Circular | 5.2-28.3 |  |  | 1 release
9 | 2024-09-18 | 13:15 | 13:28 | Methane | 0 | Mean | 0.9 | 0 | 3-sigma | 1.1 | 76 | Ground-based wind measurement | Circular | 5.0-20.5 |  |  | 1 release
10 | 2024-09-18 | 14:43 | 15:01 | Methane | 0.1 | Mean | 0.9 | 0 | 3-sigma | 1.8 | 105 | Ground-based wind measurement | Circular | 5.1-28.4 |  |  | 1 release
11 | 2024-09-18 | 15:44 | 16:01 | Methane | 171.9 | Mean | 201.1 | 142.7 | 3-sigma | 1.6 | 68 | Ground-based wind measurement | Circular | 4.8-28.3 |  |  | 1 release
12 | 2024-09-18 | 16:44 | 17:02 | Methane | 0.1 | Mean | 1 | 0 | 3-sigma | 1.5 | 297 | Ground-based wind measurement | Circular | 5.1-27.8 |  |  | 1 release
13 | 2024-09-19 | 8:48 | 9:08 | Methane | 12.4 | Mean | 26 | 0 | 3-sigma | 0.9 | 118 | Ground-based wind measurement | Circular | 5.0-29.0 |  |  | 1 release
14 | 2024-09-19 | 9:51 | 10:08 | Methane | 0.7 | Mean | 5.4 | 0 | 3-sigma | 0.7 | 76 | Ground-based wind measurement | Circular | 5.0-28.2 |  |  | 1 release
15 | 2024-09-19 | 12:54 | 13:12 | Methane | 11.3 | Mean | 25.4 | 0 | 3-sigma | 0.9 | 54 | Ground-based wind measurement | Circular | 5.0-28.2 |  |  | 1 release
16 | 2024-09-19 | 13:49 | 14:07 | Methane | 1.1 | Mean | 3.4 | 0 | 3-sigma | 1.7 | 46 | Ground-based wind measurement | Circular | 4.8-27.6 |  |  | 1 release
17 | 2024-09-19 | 15:55 | 16:12 | Methane | 2.9 | Mean | 5.5 | 0 | 3-sigma | 1.8 | 78 | Ground-based wind measurement | Circular | 5.0-28.4 |  |  | 1 release
18 | 2024-09-19 | 17:01 | 17:18 | Methane | 5.6 | Mean | 8.6 | 2.6 | 3-sigma | 2.9 | 51 | Ground-based wind measurement | Circular | 5.0-28.2 |  |  | 1 release
19 |  |  |  | Methane
20 |  |  |  | Methane
21 |  |  |  | Methane
22 |  |  |  | Methane
23 |  |  |  | Methane
24 |  |  |  | Methane
25 |  |  |  | Methane
26 |  |  |  | Methane
27 |  |  |  | Methane
28 |  |  |  | Methane
29 |  |  |  | Methane
30 |  |  |  | Methane
31 |  |  |  | Methane
32 |  |  |  | Methane
33 |  |  |  | Methane
34 |  |  |  | Methane
35 |  |  |  | Methane
36 |  |  |  | Methane
37 |  |  |  | Methane
38 |  |  |  | Methane
39 |  |  |  | Methane
40 |  |  |  | Methane

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F