## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| StartTime | Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Data fields are color coded as follows: | EndTime | End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
| EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
| EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "On-drone in situ measurement" or "Ground-based wind measurement"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If flight height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Reported Data
PerformerExperimentID | DateOfSurvey | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 2024-06-24 | 12:08 | 12:33 | Methane | 19.34 |  |  |  |  | 2 | NE | Ground-Based Wind Measurement |  | 0-20 |  |  | 1
2 | 2024-06-24 | 12:38 | 12:43 | Methane | 17.3 |  |  |  |  | 3 | NE, E | Ultrasonic Anemometer |  | 0-20 |  |  | 1
3 | 2024-06-24 | 2:00 |  | Methane | 1.06 |  |  |  |  | 2.7 | N, NE | Ultrasonic Anemometer |  | 0-25 |  |  | 2
4 | 2024-06-24 |  | 2:36 | Methane | 0.3 |  |  |  |  | 2.8 | NE | Ultrasonic Anemometer |  | 0-15 |  |  | 2
5 | 2024-06-24 | 3:02 | 3:29 | Methane | 8.69 |  |  |  |  | 2.5 | E | Ultrasonic Anemometer |  | 0-30 |  |  | 3
6 | 2024-06-24 | 3:32 | 3:39 | Methane | 19.17 |  |  |  |  | 3.1 | NE | Ultrasonic Anemometer |  | 0-20 |  |  | 3
7 | 2024-06-24 | 3:40 | 3:53 | Methane | 8.9 |  |  |  |  | 2.1 | E | Ultrasonic Anemometer |  | 0-20 |  |  | 3
8 | 2024-06-24 | 5:05 | 5:38 | Methane | 13.43 |  |  |  |  | 2.6 | NE, E | Ultrasonic Anemometer |  | 0-25 |  |  | 4
9 | 2024-06-25 | 9:10 | 9:33 | Methane | 0.21 |  |  |  |  | 0.8 | S | Ultrasonic Anemometer |  | 0-25 |  |  | 5
10 | 2024-06-25 | 9:36 | 9:45 | Methane | 0.16 |  |  |  |  | 1.4 | S | Ultrasonic Anemometer |  | 0-25 |  |  | 5
11 | 2024-06-25 | 10:09 | 10:40 | Methane | 0.24 |  |  |  |  | 2 | S | Ultrasonic Anemometer |  | 0-25 |  |  | 6
12 | 2024-06-25 | 11:06 | 11:32 | Methane | 2.86 |  |  |  |  | 1.5 | S | Ultrasonic Anemometer |  | 0-20 |  |  | 6
13 | 2024-06-25 | 11:36 | 11:51 | Methane | 6.05 |  |  |  |  | 1.9 | S, SE | Ultrasonic Anemometer |  | 0-25 |  |  | 6
14 | 2024-06-25 | 1:41 | 2:14 | Methane | 15.35 |  |  |  |  | 2.9 | E | Ultrasonic Anemometer |  | 0-25 |  |  | 7
15 | 2024-06-25 | 2:38 | 3:09 | Methane | 7.06 |  |  |  |  | 2 | E, SE | Ultrasonic Anemometer |  | 0-25 |  |  | 8
16 | 2024-06-25 | 3:34 | 4:07 | Methane | 11.7 |  |  |  |  | 2.5 | E, SE | Ultrasonic Anemometer |  | 0-25 |  |  | 9
17 | 2024-06-25 | 4:44 | 5:12 | Methane | 0.76 |  |  |  |  | 2.2 | E, SE | Ultrasonic Anemometer |  | 0-25 |  |  | 10
18 | 2024-06-25 | 5:16 | 5:35 | Methane | 0.89 |  |  |  |  | 2.2 | SE | Ultrasonic Anemometer |  | 0-25 |  |  | 10
19 | 2024-06-26 | 10:03 | 10:32 | Methane | 0.07 |  |  |  |  | 2 | E | Ultrasonic Anemometer |  | 0-25 |  |  | 11
20 | 2024-06-26 | 11:08 | 11:25 | Methane | 2.41 |  |  |  |  | 2 | W | Ultrasonic Anemometer |  | 0-30 |  |  | 12
21 | 2024-06-26 | 11:33 | 11:50 | Methane | 0.05 |  |  |  |  | 2 | W | Ultrasonic Anemometer |  | 0-25 |  |  | 12
22 | 2024-06-26 | 1:09 | 1:38 | Methane | 0.35 |  |  |  |  | 2 | E | Ultrasonic Anemometer |  | 0-30 |  |  | 13
23 | 2024-06-26 | 2:05 | 2:12 | Methane | 0 |  |  |  |  | 2 | E | Ultrasonic Anemometer |  | 0-25 |  |  | 14
24 | 2024-06-26 | 2:18 | 2:36 | Methane | 12.88 |  |  |  |  | 3 | NE, E | Ultrasonic Anemometer |  | 0-25 |  |  | 14
25 | 2024-06-26 | 3:11 | 3:39 | Methane | 3.19 |  |  |  |  | 2.2 | E | Ultrasonic Anemometer |  | 0-25 |  |  | 15
26 | 2024-06-26 | 4:07 | 4:37 | Methane | 0.09 |  |  |  |  | 2.8 | NE, E, SE | Ultrasonic Anemometer |  | 0-25 |  |  | 16
27 | 2024-06-26 | 5:24 | 5:34 | Methane | 0.1 |  |  |  |  | 2.8 | E, NE | Ultrasonic Anemometer |  | 0-15 |  |  | 17
28 | 2024-06-26 | 5:36 | 5:45 | Methane | 0.06 |  |  |  |  | 2.6 | SE | Ultrasonic Anemometer |  | 0-15 |  |  | 17
29 | 2024-06-27 | 9:03 | 9:32 | Methane | 24.99 |  |  |  |  | 2.7 | NW | Ultrasonic Anemometer |  | 0-35 |  |  | 18
30 | 2024-06-27 | 9:39 | 9:46 | Methane | 3.45 |  |  |  |  | 3 | N | Ultrasonic Anemometer |  | 0-25 |  |  | 18
31 | 2024-06-27 | 10:10 | 10:36 | Methane | 9.88 |  |  |  |  | 3 | W | Ultrasonic Anemometer |  | 0-20 |  |  | 19
32 | 2024-06-27 | 10:40 | 10:55 | Methane | 22.44 |  |  |  |  | 4 | W | Ultrasonic Anemometer |  | 0-30 |  |  | 19
33 | 2024-06-27 | 11:13 | 11:44 | Methane | 0.55 |  |  |  |  | 3 | W | Ultrasonic Anemometer |  | 0-20 |  |  | 20
34 | 2024-06-27 | 12:15 | 12:45 | Methane | 4.5 |  |  |  |  | 3 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 21
35 | 2024-06-27 | 12:49 | 12:55 | Methane | 6.84 |  |  |  |  | 3 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 21
36 | 2024-06-27 | 1:43 | 2:14 | Methane | 9.46 |  |  |  |  | 3 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 22
37 | 2024-06-27 | 2:41 | 3:11 | Methane | 9.8 |  |  |  |  | 3 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 23
38 | 2024-06-27 | 3:16 | 3:22 | Methane | 10.21 |  |  |  |  | 3 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 24
39 | 2024-06-27 | 3:41 | 4:15 | Methane | 17.16 |  |  |  |  | 2.2 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 25
40 | 2024-06-27 | 4:42 | 5:05 | Methane | 1.33 |  |  |  |  | 2.1 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 26
41 | 2024-06-27 | 5:08 | 5:24 | Methane | 0.93 |  |  |  |  | 3 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 26
42 | 2024-06-28 | 9:06 | 9:31 | Methane | 2.84 |  |  |  |  | 2 | NW | Ultrasonic Anemometer |  | 0-20 |  |  | 27
43 | 2024-06-28 | 9:36 | 9:50 | Methane | 1.4 |  |  |  |  | 2 | N | Ultrasonic Anemometer |  | 0-30 |  |  | 27
44 | 2024-06-28 | 11:06 | 11:14 | Methane | 5.63 |  |  |  |  | 0.5 | NW | Ultrasonic Anemometer |  | 0-30 |  |  | 28
45 | 2024-06-28 | 11:15 | 11:36 | Methane | 10.77 |  |  |  |  | 0.9 | NW | Ultrasonic Anemometer |  | 0-30 |  |  | 28
46 | 2024-06-28 | 11:40 | 11:50 | Methane | 4 |  |  |  |  | 0.8 | NW | Ultrasonic Anemometer |  | 0-30 |  |  | 29
47 | 2024-06-28 | 12:09 | 12:19 | Methane | 6.27 |  |  |  |  | 1.6 | NW | Ultrasonic Anemometer |  | 0-25 |  |  | 30
48 | 2024-06-28 | 12:20 | 12:31 | Methane | 1.55 |  |  |  |  | 1.2 | NW | Ultrasonic Anemometer |  | 0-25 |  |  | 30

## Performer Info
Company | SeekOps
Product name | TDLAS (SeekIR) sensor
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded.
(2) Please record the model number of each primary component in (1), if applicable.
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments.
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | Our sensor employs absorption spectroscopy, utilizing a tunable diode laser (TDL) situated within an open cavity flanked by two mirrors. This configuration extends the laser's path length, enhancing its sensitivity to CH4’s absorption characteristics. The underlying physical principle, governed by the Beer-Lambert Law, elucidates how spectral intensity variation at a given wavelength – after traversing a sample – relates to the physical parameters of the sample, including initial spectral intensity and path length (Hanson, 2016). Accurate determination of parameters such as pressure, temperature, wavelength, and path length enables the calculation of the target species' concentration through observed changes in spectral intensity. Our sensor incorporates a multi-pass optical cell (a Herriott Cell) to augment the laser's path length, thereby enhancing the sensitivity to variations in concentration, temperature, or pressure. This Herriott Cell consists of two highly reflective concave mirrors, precisely aligned to reflect the desired wavelength of light. Such an arrangement enables the laser beam to undergo multiple reflections within the cavity, significantly extending the interaction path with the sample gas and improving the detection sensitivity. In this setup, the TDL serves as the source of initial spectral intensity, while a photovoltaic detector, attuned to the laser's spectral region, measures photons unabsorbed by methane molecules. To further refine the process, Wavelength Modulation Spectroscopy (WMS) modulates both the laser's intensity and wavelength at a specific frequency, optimizing the signal-to-noise ratio and facilitating a calibration-free approach to laser diagnostics. This method allows for the establishment of calibration factors at the time of manufacture, which remain valid throughout the instrument's lifespan. Employing filters for high frequencies enables the demodulation of the detected response, thus quantifying the methane concentration within the open cavity.
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma)
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | FSM (Field Service Manager), DSP (Drone Service Provider), DA (Data Analyst), Environmental Scientist.
(8) For hyperspectral technologies, describe how plume length is determined for quantification. | The advent of modern enterprise-grade drones, equipped with anti-collision sensors, enables close, safe proximity to operational equipment, ensuring thorough and safe operational coverage without endangering personnel or disrupting ongoing site activities. We estimate a plume's length by employing the Navier-Stokes equations to model fluid movements and their interactions. This approach necessitates numerous measurements and assumptions to accurately address the inverse problem. We apply the law of conservation of mass to estimate methane's mass flow from specific equipment. This method is predicated on three fundamental assumptions: 1. The targeted area is confined within a well-defined engineering control volume. 2. Essential parameters, such as the density and velocity of wind, can be either directly measured or accurately modeled. 3. The variance in mass flowrate is attributed exclusively to the specified area of interest. Employing the conservation of mass principle, we express the mass flowrate of emissions, m ̇_emissions, as the differential between the mass flowrates along the downwind, m ̇_out, and upwind surfaces, m ̇_in. m ̇_emissions=m ̇_out-m ̇_in Moreover, to compute the mass flowrate, we integrate across the control volume: ṁ_emissions = ∬ ρ (χ_yz - χ_b) v(z) · n̂ dx dz Here, ρ represents CH4’s density under specific temperature and pressure conditions, χ_yz indicates CH4 concentration in parts-per-million by volume (ppmv) at each measurement point, χ_b refers to the background CH4 concentration, and (v(z)) denotes the wind vector's normal component at varying altitudes throughout the engineering control volume. The resultant mass flowrates, expressed in grams per second (g/s) or standard cubic feet per hour (SCFH), incorporate standard corrections for temperature and pressure.
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | Wind velocity measurements utilized in our calculations are derived from an on-site stationary anemometer, complemented by a wind profile model tailored to local surface characteristics. Airdata is used for wind reanalysis.
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc. | We report a standardized +_30% uncertainty (influenced by wind variability).