## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| StartTime | Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Data fields are color coded as follows: | EndTime | End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
| EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
| EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "On-vehicle in situ measurement" or "Ground-based wind measurement"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| AverageSpeed | Average (mean) speed of the vehicle. Please report in kilometers per hour [km/hr].
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Performer Info
University | Heidelberg University (UHEI)
Product name
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded. | inlet height: 2.7 m above ground delay time: 13 seconds tubing: teflon tubing 1/4`` analyser: LI-7810 (LI-COR) mobile wether station: 2D anemometer (MaxiMet GMX500, Gill Instruments) stationary weather station: 3D ultrasonic anemometer (USA-1, METEK) GPS: (BasicAirData, Google Commerce Ltd.)
(2) Please record the model number of each primary component in (1), if applicable. | LI-7810 (TG10-01800)
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments.
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | see Korben et al. 2022 (https://doi.org/10.1525/elementa.2022.00070)
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma) | SD/sqrt(N)
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | survey team: 4 (always 1 driver, 1 writer) evaluation: 1
(8) For hyperspectral technologies, describe how plume length is determined for quantification.
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | anemometer provides 1 Hz wind data; wind speed over each transect is averaged
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc. | uncertainty is given as standard error of the mean (standard deviation/sqrt(number of transects))

## Reported Data
PerformerExperimentID | DateOfSurvey | StartTime (UTC) | EndTime (UTC) | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | AverageSpeed | EstimatedSourceLatitude | EstimatedSourceLongitude
1_1 | 2024-06-24 | 09:09 | 9:55 | Methane | 0.37 | GPM | 0.37+0.09 | 0.37-0.09 | standard error of the median | 1.68 | 14.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_1 | 1 | 15 | 43.4128 | -0.64265
1_2 | 2024-06-24 | 10:10 | 10:46 | Methane | 105.55 | GPM | 105.55+22.08 | 105.55-22.08 | standard error of the median | 2.14 | 39.5 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_2 | 1 | 15 | 43.4128 | -0.64265
1_3 | 2024-06-24 | 11:02 | 11:47 | Methane | 4.76 | GPM | 4.76+1.87 | 4.76-1.87 | standard error of the median | 2.26 | 51.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_3 | 1 | 15 | 43.4128 | -0.64265
1_4 | 2024-06-24 | 12:03 | 12:49 | Methane | 0.63 | GPM | 0.63+0.10 | 0.63-0.10 | standard error of the median | 2.3 | 18 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_4 | 1 | 15 | 43.4128 | -0.64265
1_5 | 2024-06-24 | 13:05 | 13:50 | Methane | 63.84 | GPM | 63.84+7.84 | 63.84-7.84 | standard error of the median | 2.49 | 62.1 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_5 | 1 | 20 | 43.4128 | -0.64265
1_6 | 2024-06-24 | 14:06 | 14:52 | Methane | 5.4 | GPM | 5.40+1.62 | 5.40-1.62 | standard error of the median | 1.76 | 47.6 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_6 | 1 | 20 | 43.4128 | -0.64265
1_7 | 2024-06-24 | 15:01 | 15:50 | Methane | 16.06 | GPM | 16.06+7.40 | 16.06-7.40 | standard error of the median | 2.49 | 43.3 | ground-based 3D anemometer | rounds | 2.7 |  | RE1_7 | 1 | 15 | 43.4128 | -0.64265
2_1 | 2024-06-25 | 7:06 | 7:42 | Methane | 1.54 | GPM | 1.54+0.24 | 1.54-0.24 | standard error of the median | 1.39 | 152.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_1 | 1 | 20 | 43.4128 | -0.64265
2_2 | 2024-06-25 | 8:06 | 8:40 | Methane | 1.67 | GPM | 1.67+0.73 | 1.67-0.73 | standard error of the median | 1.56 | 123.2 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_2 | 1 | 20 | 43.4128 | -0.64265
2_3 | 2024-06-25 | 9:07 | 9:51 | Methane | 7.66 | GPM | 7.66+0.05 | 7.66-0.05 | standard error of the median | 1.85 | 128.5 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_3 | 1 | 20 | 43.4128 | -0.64265
2_4 | 2024-06-25 | 10:06 | 10:52 | Methane | 25.73 | GPM | 25.73+0.07 | 25.73-0.07 | standard error of the median | 2.47 | 73.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_4 | 1 | 20 | 43.4128 | -0.64265
2_5 | 2024-06-25 | 11:35 | 12:21 | Methane | 47.21 | GPM | 47.21+9.15 | 47.21-9.15 | standard error of the median | 2.78 | 71.1 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_5 | 1 | 20-30 | 43.4128 | -0.64265
2_6 | 2024-06-25 | 12:36 | 13:22 | Methane | 22.99 | GPM | 22.99+2.99 | 22.99-2.99 | standard error of the median | 2.24 | 75.6 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_6 | 1 | 20 | 43.4128 | -0.64265
2_7 | 2024-06-25 | 13:35 | 14:21 | Methane | 57.82 | GPM | 57.82+15.09 | 57.82-15.09 | standard error of the median | 2.55 | 69.5 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_7 | 1 | 20-30 | 43.4128 | -0.64265
2_8 | 2024-06-25 | 14:40 | 15:24 | Methane | 2.63 | GPM | 2.63+0.43 | 2.63-0.43 | standard error of the median | 2.53 | 103.6 | ground-based 3D anemometer | rounds | 2.7 |  | RE2_8 | 1 | 20-30 | 43.4128 | -0.64265
3_1 | 2024-06-26 | 6:57 | 7:44 | Methane | 0.39 | GPM | 0.39+0.19 | 0.39-0.19 | standard error of the median | 0.8 | 133 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_1 | 1 | 20 | 43.4128 | -0.64265
3_2 | 2024-06-26 | 8:04 | 8:40 | Methane | 1.22 | GPM | 1.22+0.32 | 1.22-0.32 | standard error of the median | 1.12 | 328 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_2 | 1 | 20-30 | 43.4128 | -0.64265
3_3 | 2024-06-26 | 9:03 | 9:51 | Methane | 2.74 | GPM | 2.74+1.19 | 2.74-1.19 | standard error of the median | 1.34 | 183.2 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_3 | 1 | 20 | 43.4128 | -0.64265
3_4 | 2024-06-26 | skipped | skipped | Methane | skipped | skipped | skipped | skipped | skipped | skipped | skipped | skipped | skipped | skipped |  |  | 1
3_5 | 2024-06-26 | 12:02 | 12:45 | Methane | 0.44 | GPM | 0.44+0.06 | 0.44-0.06 | standard error of the median | 1.7 | 76.1 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_5 | 1 | 20 | 43.4128 | -0.64265
3_6 | 2024-06-26 | 13:03 | 13:50 | Methane | 31.1 | GPM | 31.10+4.30 | 31.10-4.30 | standard error of the median | 2.11 | 38.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_6 | 1 | 20-30 | 43.4128 | -0.64265
3_7 | 2024-06-26 | 14:05 | 14:50 | Methane | 5.43 | GPM | 5.43+1.76 | 5.43-1.76 | standard error of the median | 2.34 | 34 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_7 | 1 | 20 | 43.4128 | -0.64265
3_8 | 2024-06-27 | 15:04 | 15:47 | Methane | 0.57 | GPM | 0.57+0.16 | 0.57-0.16 | standard error of the median | 2.87 | 53.2 | ground-based 3D anemometer | rounds | 2.7 |  | RE3_8 | 1 | 20 | 43.4128 | -0.64265
4_1 | 2024-06-27 | 6:58 | 7:45 | Methane | 59.57 | GPM | 59.57+8.37 | 59.57-8.37 | standard error of the median | 1.54 | 313.4 | ground-based 3D anemometer | rounds | 2.7 |  | RE4_1 | 1 | 20 | 43.4128 | -0.64265
4_2 | 2024-06-27 | 8:10 | 8:52 | Methane | 22.6 | GPM | 22.60+8.55 | 22.60-8.55 | standard error of the median | 3.18 | 290.8 | ground-based 3D anemometer | rounds | 2.7 |  | RE4_2 | 1 | 20 | 43.4128 | -0.64265
4_3 | 2024-06-27 | 9:18 | 9:57 | Methane | 3.04 | OTM33-a | 3.04+0.97 | 3.04-0.97 | error propagation | 2.65 | 270.2 | ground-based 3D anemometer | standing | 2.5 |  |  | 1 | 0 | 43.4128 | -0.64265
4_4 | 2024-06-27 | 10:10 | 10:56 | Methane | 5.54 | OTM33-a | 5.54+1.81 | 5.54-1.81 | error propagation | 1.97 | 259.5 | ground-based 3D anemometer | standing | 2.5 |  |  | 1 | 0 | 43.4128 | -0.64265
4_5 | 2024-06-27 | 11:33 | 12:16 | Methane | 16.38 | GPM | 16.38+4.44 | 16.38-4.44 | standard error of the median | 3.26 | 305.4 | ground-based 3D anemometer | rounds | 2.7 |  | RE4_5 | 1 | 15-20 | 43.4128 | -0.64265
4_6 | 2024-06-27 | 12:36 | 13:21 | Methane | 27.94 | GPM | 27.94+5.51 | 27.94-5.51 | standard error of the median | 4.42 | 321.4 | ground-based 3D anemometer | rounds | 2.7 |  | RE4_6 | 1 | 20 | 43.4128 | -0.64265
4_7 | 2024-06-27 | 13:35 | 14:20 | Methane | 91.95 | GPM | 91.95+19.35 | 91.95-19.35 | standard error of the median | 3.87 | 313.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE4_7 | 1 | 20 | 43.4128 | -0.64265
4_8 | 2024-06-27 | 14:39 | 15:25 | Methane | 1.06 | OTM33-a | 1.06+0.27 | 1.06-0.27 | error propagation | 2.37 | 238.5 | ground-based 3D anemometer | standing | 2.5 |  |  | 1 | 0 | 43.4128 | -0.64265
5_1 | 2024-06-28 | 7:01 | 7:47 | Methane | 6.02 | GPM | 6.02+1.55 | 6.02-1.55 | standard error of the median | 1.6 | 306.8 | ground-based 3D anemometer | rounds | 2.7 |  | RE5_1 | 1 | 20 | 43.4128 | -0.64265
5_2 | 2024-06-28 | 8:12 | 8:56 | Methane | 0.41 | GPM | 0.41+0.03 | 0.41-0.03 | standard error of the median | 1.41 | 343.9 | ground-based 3D anemometer | rounds | 2.7 |  | RE5_2 | 1 | 20 | 43.4128 | -0.64265
5_3 | 2024-06-28 | 9:04 | 9:50 | Methane | 85.61 | GPM | 85.61+18.08 | 85.61-18.08 | standard error of the median | 0.99 | 312.2 | ground-based 3D anemometer | rounds | 2.7 |  | RE5_3 | 1 | 20 | 43.4128 | -0.64265
5_4 | 2024-06-28 | 10:07 | 10:50 | Methane | 14.83 | GPM | 14.83+8.60 | 14.83-8.60 | standard error of the median | 1.41 | 279 | ground-based 3D anemometer | rounds | 2.7 |  | RE5_4 | 1 | 15-20
skipped
wind speed very low
instable wind direction
OTM33-a
GPM

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F