## Instructions
This work book contains the following spreadsheets: | Data column | Description/Instructions
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test. | PerformerExperimentID | Your ID number for each measurement. Use an consistent numbering format, sequential.
(2) Reported Data: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) . | DateOfSurvey | Date of survey in format DD-MM-YYYY
| StartTime | Start time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Data fields are color coded as follows: | EndTime | End time of survey in format HH:MM. Please use 24 hour clock in local time zone (UTC+2)
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol. | Gas | Enter the gas type that you are measuring. Default is methane. If your device measures another kind of gas (e.g., estimated total hydrocarbon) please change this.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics. | EstimatedEmissionRate | Estimated emissions rate of gas noted above. Please report emission rate in kg of gas per hour (e.g., kg CH4/hr)
| EstimateType | [OPTIONAL] Report the type of estimate, e.g., mean estimate. If multiple methods are used, please use this column to denote which type of method was used.
| EstimatedEmissionRateUpper | [OPTIONAL] If your method produces an uncertainty range, please report upper bound on estimated emission rate.
| EstimatedEmissionRateLower | [OPTIONAL] If you method produces an uncertainty range, please report lower bound on estimated emission rate.
| UncertaintyType | [OPTIONAL] If your method produces an uncertainty range, please report the type of uncertainty range given (e.g., +/- 1 SD or 95% CI)
| WindSpeed | Wind speed used in your analysis. Please report in meters per sec [m/s]
| WindDirection | Wind direction used in your analysis. Please report in degrees from true north (not magnetic north). Degrees measured clockwise from north (e.g. East = 90). Report direction from which wind blows (e.g., wind blowing from due East = 90)
| WindSource | Source of wind measurement. E.g., "On-vehicle in situ measurement" or "Ground-based wind measurement"
| TransitDirection | General direction of transit (e.g., east-west transit)
| MeasurementHeight | Height of measurement in meters above ground surface. If height varies, report low-high range in height and mean height.
| TransitPathCode | [OPTIONAL] Please report the code associated with this set of transits, if transit paths are provided.
| ImageCode | [OPTIONAL] Please give the file name of the image associated with the release. For example, if map of transit path is provided, please give the file name.
| NumberOfEmissionSourcesReported | Report the number of release sources estimated (e.g., 1 release, 2 releases)
| AverageSpeed | Average (mean) speed of the vehicle. Please report in kilometers per hour [km/hr].
| EstimatedSourceLatitude | [OPTIONAL] The estimated latitude of the methane source in decimal degrees.
| EstimatedSourceLongtitude | [OPTIONAL] The estimated longtitude of the methane source in decimal degrees.

## Performer Info
Company | LSCE-CYI-RHUL-UU (Universities)
Product name | Does not apply
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded. | Vehicle equipped with methane analyzers (ABB, Aeris MIRA Ultra, PICARRO G...), Airmar anemometer and GPS system. Trisonica anemometer installed near the release area
(2) Please record the model number of each primary component in (1), if applicable.
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments.
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | The vehicle is repetedly driven around the release area, online sensors screen are checked live to verify when the vehicle is crossing the plume. CH4 concentration data from the analyzers are merged with the GPS and wind data to estimate the source location. The source estimated location and the atmospheric stability class are used in a Gaussian Plume Dispersion Model to estimate the release rate based on the observed concentration data. Assumptions are made about the release point height.
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma)
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required. | 4 people one site. Each participant covered all roles: driver, co-pilot (and live CH4 data stream viewer), controll room.
(8) For hyperspectral technologies, describe how plume length is determined for quantification.
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | Wind data are collected by two instruments: one Airmar anemometer installed on the roof of the vehicle and one Trisonica anemometer installed near the release area
(10) If uncertainty is reported, where is it coming from? Is it from calculations, reported data, experimentation, etc.

## Reported Data
PerformerExperimentID | DateOfSurvey | StartTime | EndTime | Gas | EstimatedEmissionRate | EstimateType | EstimatedEmissionRateUpper | EstimatedEmissionRateLower | UncertaintyType | WindSpeed | WindDirection | WindSource | TransitDirection | MeasurementHeight | TransitPathCode | ImageCode | NumberOfEmissionSourcesReported | AverageSpeed | EstimatedSourceLatitude | EstimatedSourceLongitude
1 | 09/16/2024 | 11:00 | 11:46 | Methane | [7 empty] | Ground-based wind measurement |  | 2.5
2 | 09/16/2024 | 11:59 | 12:47 | Methane | 22.03 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 47.29 | 0 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.4 | 320.1 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4129 | -0.64241
3 | 09/16/2024 | 12:59 | 13:45 | Methane |  | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data |  |  | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties |  |  | Ground-based wind measurement |  | 2.5
4 | 09/16/2024 | 13:59 | 14:46 | Methane | 5.44 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 8.36 | 2.52 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.3 | 285 | Ground-based wind measurement | North-East, South-West, West | 2.5 |  |  | treated as 1 source point | 12 | 43.4128 | -0.64246
5 | 09/16/2024 | 14:59 | 15:45 | Methane | 11.45 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 22.77 | 0.13 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 2.4 | 308.1 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4129 | -0.64226
6 | 09/16/2024 | 15:59 | 16:45 | Methane | 5.02 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 10.82 | 0 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.8 | 309.7 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4129 | -0.642263
7 | 09/17/2024 | 9:00 | 9:46 | Methane | 0.28 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.54 | 0.02 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.4 | 359.9 | Ground-based wind measurement | North-East, South-East, North-West | 2.5 |  |  | treated as 1 source point | 11
8 | 09/17/2024 | 9:59 | 10:46 | Methane |  | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data |  |  | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties |  |  | Ground-based wind measurement |  | 2.5
9 | 09/17/2024 | 10:59 | 11:50 | Methane | 4.02 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 9.06 | 0 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.5 | 289.4 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4129 | -0.64241
10 | 09/17/2024 | 11:59 | 12:49 | Methane | 2.19 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 3.21 | 1.17 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.8 | 238 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4131 | -0.642263
11 | 09/17/2024 | 13:00 | 13:46 | Methane | 0.88 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.92 | 0.84 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.7 | 36.1 | Ground-based wind measurement | South-East, North-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4126 | -0.642763
12 | 09/17/2024 | 13:58 | 14:45 | Methane | 30.43 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 49.69 | 11.17 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.1 | 339.6 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4127 | -0.64283
13 | 09/17/2024 | 14:58 | 15:44 | Methane | 0 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.0024 | 0 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.1 | 249.8 | Ground-based wind measurement | South-East, North-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4131 | -0.642563
14 | 09/17/2024 | 15:57 | 16:45 | Methane | 16.2 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 28.12 | 4.28 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.6 | 0.6 | Ground-based wind measurement | South-East, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4129 | -0.64241
15 | 09/18/2024 | 8:51 | 9:37 | Methane | 0.84 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 1.18 | 0.5 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.4 | 122.1 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 11 | 43.413 | -0.642963
16 | 09/18/2024 | 9:44 | 10:31 | Methane | 8.71 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 25.11 | 0 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.2 | 159.2 | Ground-based wind measurement | North-East, South-East, North-West | 2.5 |  |  | treated as 1 source point | 17 | 43.4127 | -0.64283
17 | 09/18/2024 | 10:45 | 11:31 | Methane | 0.25 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.35 | 0.15 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.7 | 58.5 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4129 | -0.64241
18 | 09/18/2024 | 11:44 | 12:33 | Methane | 8.3 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 14.72 | 1.88 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.7 | 50.5 | Ground-based wind measurement | South-East, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4129 | -0.64241
19 | 09/18/2024 | 12:45 | 13:25 | Methane | 0.18 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.38 | 0 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.4 | 5.6 | Ground-based wind measurement | North-East, South-East, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4127 | -0.64283
20 | 09/18/2024 | 13:30 | 14:16 | Methane | 1.56 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 2.2 | 0.92 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.8 | 4.1 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4128 | -0.642263
21 | 09/18/2024 | 14:29 | 15:16 | Methane | 0.3 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.58 | 0.02 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.7 | 66.2 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.413 | -0.642963
22 | 09/18/2024 | 15:30 | 16:19 | Methane | 120.48 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 173.92 | 67.04 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.3 | 43 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4127 | -0.64283
23 | 09/18/2024 | 16:31 | 17:19 | Methane | 0.51 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.73 | 0.29 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.5 | 54.9 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4128 | -0.642863
24 | 09/19/2024 | 8:45 | 9:33 | Methane | 34.21 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 50.49 | 17.93 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.4 | 155.5 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4126 | -0.642963
25 | 09/19/2024 | 9:45 | 10:31 | Methane | 0.58 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.84 | 0.32 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.8 | 114.2 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4129 | -0.64241
26 | 09/19/2024 | 10:44 | 11:32 | Methane | 1.42 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 2.2 | 0.64 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.5 | 230.4 | Ground-based wind measurement | North-East, South-East, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4129 | -0.64241
27 | 09/19/2024 | 11:44 | 12:31 | Methane |  | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data |  |  | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties |  |  | Ground-based wind measurement |  | 2.5 |  |  |  |  | 43.4128 | -0.64296
28 | 09/19/2024 | 12:44 | 13:32 | Methane | 4.93 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 9.05 | 0.81 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.6 | 16.4 | Ground-based wind measurement | South-East, South-West, North-West, North-West, North | 2.5 |  |  | treated as 1 source point | 17 | 43.4128 | -0.642963
29 | 09/19/2024 | 13:46 | 14:34 | Methane | 0.42 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.7 | 0.14 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.7 | 56 | Ground-based wind measurement | North-East, South-East, South, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4131 | -0.642963
30 | 09/19/2024 | 14:44 | 15:31 | Methane |  | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data |  |  | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties |  |  | Ground-based wind measurement |  | 2.5
31 | 09/19/2024 | 15:44 | 16:34 | Methane | 2.58 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 3.94 | 1.22 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.8 | 58.7 | Ground-based wind measurement | North-East, South-East, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4126 | -0.642763
32 | 09/19/2024 | 16:44 | 17:38 | Methane | 12.18 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 19.52 | 4.84 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.9 | 51.6 | Ground-based wind measurement | North, South-East, South, South-West, North-West | 2.5 |  |  | treated as 1 source point | 11 | 43.4127 | -0.642963
33 | 09/20/2024 | 8:45 | 9:31 | Methane | 5.64 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 7.24 | 4.04 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.6 | 152 | Ground-based wind measurement | North-East, East, East, South-East, South-West, South-West, North-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4129 | -0.64241
34 | 09/20/2024 | 9:45 | 10:34 | Methane | 19.89 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 35.53 | 4.25 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.2 | 134 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4127 | -0.64283
35 | 09/20/2025 | 10:45 | 11:34 | Methane | 5.31 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 8.01 | 2.61 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.3 | 99.9 | Ground-based wind measurement | South-East, North-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4126 | -0.642963
36 | 09/20/2026 | 11:46 | 12:33 | Methane | 0.24 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 0.36 | 0.12 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.9 | 58.9 | Ground-based wind measurement | North, North-East, South-East, North-West | 2.5 |  |  | treated as 1 source point | 14 | 43.4129 | -0.64241
37 | 09/20/2027 | 12:47 | 13:33 | Methane | 8.56 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 13.72 | 3.4 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.8 | 308.2 | Ground-based wind measurement | North-East, South-West | 2.5 |  |  | treated as 1 source point | 13 | 43.4128 | -0.642463
38 | 09/20/2028 | 13:51 | 14:30 | Methane |  | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data |  |  | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties |  |  | Ground-based wind measurement |  | 2.5
39 | 09/20/2029 | 14:32 | 15:32 | Methane | 56.48 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 85.56 | 27.4 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 1.1 | 357.2 | Ground-based wind measurement | North-East, South-East, South-West, North-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4127 | -0.64283
40 | 09/20/2030 | 15:32 | 16:42 | Methane | 89.33 | Mean value of the emission estimates resulting from RHUL, CYI, and UU algorithms on ABB (LGR) data | 119.25 | 59.41 | Uncertainty Propagation through the averaging process from the single model estimtates' uncertainties | 0.4 | 357.6 | Ground-based wind measurement | North, North-East, South, South-West | 2.5 |  |  | treated as 1 source point | 12 | 43.4127 | -0.64283

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F